## Slide 1: Continuous Half-wave Plate Modulators
Adrian T. Lee
U.C. Berkeley and LBNL
7/31/24

## Slide 2: HWP Modulation
A HWP has “fast” and “slow” optical axes
The thickness is chosen so there is a 180 deg. phase shift of two orthogonal polarizations
Therefore, the polarization is flipped around the fast axis.
The polarization rotates at 2x the rotation frequency of the HWP and the signal is therefore modulated at 4x the rotation frequency

## Slide 3: SO Small Aperture Telescope Cryostats
HWP on 40K stage
SAT I&T Paper (Galitzki et. al. https://arxiv.org/abs/2405.05550)

## Slide 4: SO Cryogenic Half Wave Plates
CHWP Design and Integration Paper (Yamada, K. et. al. https://arxiv.org/abs/2309.14803)
HWP installed on the 40K frontend stage

## Slide 5: SO Superconducting HWP rotator

## Slide 6: Polarization Differencing: HWP and Bolometer Differencing
Both Techniques can work well and have been demonstrated
  Detailed systematic error estimates based on measured instrument models
  SO will demonstrate HWP systematic error performance at lower noise levels than previous HWP experiments
Current experience: HWP modulation is better at rejecting atmospheric fluctuations
  Possible reasons:
    For differencing, a difference in bandpass shape for paired detectors will result in different gain for CMB and atmosphere, the HWP modulation uses the same bandpass filter for both polarizations
    HWP modulation requires high gain stability due to HWP synchronous signal and differencing requires high differential gain stability
HWP
Modulation
Bolometer
Differencing

## Slide 7: Atmospheric Rejection in SO SAT Data
Demodulation
Preliminary
Noise spectra from ~100 detectors with no additional filtering post-demodulation. Spectrum is white until very low frequencies.

## Slide 8: Galaxy Maps
Tomoki Terasaki
Affiliation: University of Tokyo
Preliminary
Preliminary
Galaxy center maps in comparison to Planck demonstrate instrument performance and larger scale recovery.

## Slide 9: POLARBEAR-1
Ell knee = 90

## Slide 10: ABS Spectra
Ell knee
limited by Az scan range and not 1/f noise

## Slide 11: Studies on systematic errors due to HWP modulation

## Slide 12: Conclusions
ABS and POLARBEAR
  Show strong rejection of atmospheric fluctuations
  Full set of null tests and estimates of systematic errors
Simons Observatory
  Two 90/150 GHz SATs currently observing
  Preliminary analyses are encouraging
  Timescale is one to few years for data that is useful for CMB-S4 design process